## Calc
ECHOSOUNDER CALIBRATION - m/v. PACIFIC TITAN
| Alongside:- |  | Brunie Port, Autralia (during bunkering)
Taken in position: 41° 03' 06.45" S 145° 54' 42.353" E
| Date: |  | 2008-05-06
| Time: |  | 23:53 | GMT | 10:00 | Local Time
| Job: |  | 6374
| Client: |  | Exoil
Measurements taken:- |  |  | metres
| Port Freeboard |  |  | 1.9 |  | Stbd Freeboard |  | 1.8
| Port Lead-Line |  |  | 14.75 |  | Stbd Lead-Line |  | 13.7
| EchoSounder Reading |  |  | 7.48 |  | Fwd Draught marks: |  | 4.6
| Time |  |  | 2:55 |  | Aft Draught marks: |  | 5.2
|  | Port |  |  | Stbd.
1.9 | m | [6 empty] | 1.8 | m
| meas. | [7 empty] | meas.
14.75 | m | [6 empty] | 13.7 | m
| meas. | [7 empty] | meas.
| 12.85 | m Calc. |  |  |  | 11.9 | m Calc.
|  |  |  | 7.48 | m
obs. by EchoSounder
Draught Marks:
|  | Aft : | 5.2 | m
|  | Forward : | 4.6 | m | Theoretical Draught = |  | 4.9 | m
| Electronic Depth + Theoret. Draught = |  |  | 12.38 | m
| True Measured Water depth = |  |  | 12.375 | m
| Difference = |  |  | 0.005 | m
TEXT = | Measured
TEXT = | Calculated
TEXT = | Observed
TEXT = | Results